[image: image1.png]243

185

q“wuuwuwwuwuw

N \uj\




[image: image8.png]


[image: image9.png]





31.
Dimension


32. Safety Information


53. Preparing for installation


64. Installation


65. Connecting AC Power


76. Configuring the fixture


87. Connecting to a DMX control device


98. Configuring the fixture for DMX control


109. Cleaning


1110. DMX protocols


1511. Control menu


1912. Specification




STATEMENT

The product has well capability and intact packing when leave factory. All of  the user should comply with warning item and manual, any misuse cause of the damages are not included in our guarantee, and also can not be responsible  for any malfunction & problem owing to ignore the manual.

Dimension 

[image: image10.png]



2. Safety Informations
 SHAPE  \* MERGEFORMAT 



This luminaries are multi-environmental fixtures with an IP-rating of 65, intended for professional use only. They are not suitable for household use.

Review the following safety precautions carefully before installing or operating the fixture. This fixture must be installed in accordance with the applicable installation code by a person familiar with the construction and operation of the fixture and the hazards involved. 

Preventing electric shock

 SHAPE  \* MERGEFORMAT 



Always power off/unplug the fixture before removing any covers.

Ensure that the power is turned off when connecting the fixture to the AC mains supply.

Ensure that the fixture is electrically connected to earth (ground).

Do not apply power if the fixture is in any way damaged.

Do not immerse the fixture in water or liquid.

Preventing burns and fire

 SHAPE  \* MERGEFORMAT 



Install in a location that prevents accidental contact with the fixture.

Install only in a well-ventilated space.

Install at least 0.3 m (12 in.) away from objects to be illuminated.

Install only in accordance with applicable building codes.

Ensure a minimum clearance of 0.1 m (4 in.) around the cooling fans.

Do not paint, cover or modify the fixture.

Keep all flammable materials away from the fixture.

Allow the fixture to cool for 15 minutes after operation, before touching it.

CAUTION: Exterior surface temperature after 5 min. operation = 45 °C (113 °F). Steady state = 60 °C (140 °F).

Avoid personal injury

 SHAPE  \* MERGEFORMAT 



Do not look directly at the light source from close range.

Take precautions to prevent injury due to falls when working at height.

For permanent installation, ensure that the fixture is securely fastened to a load-bearing surface with suitable corrosion-resistant hardware.

For temporary installation with clamps, ensure that the quarter-turn fasteners are turned fully and secured with a suitable safety cable. The cable must be approved for a safe working load (SWL) of 10 times the weight of the fixture, and it must have a minimum gauge of 3 mm.

3. Preparing for installation 
Unpack the fixture and inspect it to ensure that it has not been damaged during transport.

The fixture is shipped with two quarter-turn brackets, that can be used to mount the fixture at elevation.

The fixture is IP65-rated, and is designed for use in wet locations. This means that it is protected from:

Dust, to the degree that dust cannot enter the fixture in sufficient quantities as to interfere with its operation.

Lower pressure jets of water from any direction.

When selecting a location for the fixture, ensure that:

It is situated away from public thoroughfares and protected from contact with people.

It is not immersed in water or exposed to high-pressure water jets.

It has adequate ventilation.

4. Installation 
The fixture may be installed in any orientation, but if installed horizontally with a downward beam-angle, water can potentially pool in the fan wells. Under normal operation the moisture will evaporate. However, in locations with high rainfall, you may wish to fabricate a rain shield above the fixture, or modify the position and orientation of the fixture to minimize pooling.


Two quarter-turn brackets are supplied with the fixture if it is to be flown above the ground. Rig the fixture to a support truss or structure using the supplied brackets and suitable clamps.

Fasten a safety cable (not shown) between the support structure and the attachment point on the fixture. The safety cable must be able to bear at least 10 times the weight of the fixture.

5. Connecting AC Power 
The fixture can operate on any 100–240 V, 50/60 Hz AC mains power supply. It draws approximately 2 amps at full power. For permanent installation, have a qualified electrician wire the mains cable directly to a suitable branch circuit.

The junction’s ingress protection (IP) rating must be suitable for the location.

For temporary installation, the mains cable may be fitted with a grounded connector intended for exterior use.

When installing standard type C circuit breakers there will be no limitations due to the fixture in-rush current. Due to the nominal current of the fixture, ensure that no more than:

4 fixtures are connected through the same type C, 10A circuit breaker.

7 fixtures are connected through the same type C, 16A circuit breaker.

The fixture must be grounded/earthed and be able to be isolated from AC power. The AC power supply must incorporate a fuse or circuit breaker for fault protection.

After connecting the fixture to power, run the on-board test, using the “Fixture Text” menu, to ensure that the fixture and each LED are functioning correctly. See “Control menu” on page 13.

CAUTION: Do not open the fixture to replace the supplied power cable, or connect the fixture to an electrical dimmer system, as this can damage it.

6. Configuring the fixture 
Set up the fixture using the control panel and LCD display at the arm side of the fixture.

Navigate the menus and options using the arrow buttons and select items using the Enter button. The options available are listed in “Control menu” on page 13.

After powering on, the display shows the currently selected operating mode and other information.

The fixture is set by default to be controlled in DMX mode.

Master/Slave configuration

You can set a fixture to operate as master fixture to another fixture (which then becomes a slave fixture), or an entire group of fixtures (which then becomes slave fixtures). The assigned slave fixture(s) will mimic the settings of the master fixture. Use the “Auto Program -> Auto Color / Auto Fade” menu to set your fixture as master fixture, then other fixtures set to DMX mode as slave fixture.
Setting a static color manually

The fixture can be configured to display a predefined and static color using the “Manual Color” (see “Control menu” on page 13).

It may suit your needs when you without a DMX controller to do the color mixing.

Using stand-alone operation

Stand-alone operation is where the fixture is not connected to a control device, but is preprogrammed with 2 modes (Auto Color, Auto Fade), that play continuously in a loop, the run speed of “Auto Color”, “Auto Fade” are adjustable. 

To define a stand-alone program, use the “Auto Program” menus (see “Control menu” on page 13).

7. Connecting to a DMX control device 
The fixture is controllable using a DMX control device and it can be connected using a DMX cable.

If using a cabled DMX system, connect the DMX in cable (with male 3-pin XLR plug) and out cable (with female 3-pin XLR plug) to the DMX data link. Terminate the DMX out cable of the last fixture in the data link. For outdoor installations, use only IP-rated XLR connectors suitable for outdoor use.

The DMX512 is widely used in intelligent lighting control, with a DMX 512 controller. connect several lights together, DMX in and DMX out, 3 pin XLR connectors: Pin 1: GND, Pin 2: Negative signal (-), Pin 3: Positive signal (+)
[image: image6.png]DMX512 ouT
3-PIN XLR COMMON

DMX512 IN

-

3-PIN XLR

XLR Male Socket XLR Male Socket
e
1Groun 2Cold 200‘% ‘k\HGroun
o O
W)
QS
Hot “NHot

2 __

Figure2

XLR Pin Configuration

pinl=Ground

pin2=Data Compliment (negative)

pin3=Data true (positive)





8. Configuring the fixture for DMX control 
About DMX

The fixture can be controlled using signals sent by a DMX controller on a number of channels (which varies depending on the DMX mode that has been set).

The first channel used to receive data from a DMX control device is known as the DMX start address. Each fixture must have a DMX start address set. For example, if a fixture has a DMX address of 10 and it is in 4-channel DMX mode, then it uses channels 10, 11,12 and 13. The following fixture in the DMX chain could then be set to a DMX address of 14. If two or more DMX fixtures of the same type have the same DMX address, then they will mimic each other’s behaviour. Incorrect settings will result in unpredictable responses to the lighting controller.

Setting the DMX address

The DMX address can be seen on the main screen. To change the address setting, press the up arrow to increase the address, or the down arrow to decrease the setting. When the desired address is displayed, press Enter to save the setting. 

Note that channel spacing is determined by the DMX mode.

See the “DMX protocols” on page 11 for specific DMX control values.

Setting the DMX mode

Using the “DMX Channel Mode” menu available from the control panel, specify the DMX mode that provides the fixture controls that you require, confirm chosen mode by pressing ‘Enter’.

9. Cleaning 
To maintain optimal performance, regular cleaning is essential. Cleaning schedules will vary depending on the operating environment, and the installation should therefore be checked at frequent intervals within the first few weeks of operation to see whether cleaning is necessary. This procedure will allow you to assess cleaning requirements in your par- ticular situation. Clean the fixture using a soft cloth dampened with a solution of water and a mild detergent. Do not use products that contain solvents, abrasives or caustic agents for cleaning, as they can cause damage to both hardware, cables and connectors.

10. DMX protocols 
Configuring DMX is described “Setting the DMX mode” on page 10.

7 Channel mode
	Channel
	Name
	DMX Value
	Description

	1
	Tilt
	0-255
	Tilt Movement

	2
	Beam Dimmer
	0-255
	Beam Intensity

	3
	Beam Strobe Mode
	0-5
	No Strobe

	
	
	6-42
	Strobe Mode 1

	
	
	43-85
	Strobe Mode 2

	
	
	86-128
	Strobe Mode 3

	
	
	129-171
	Strobe Mode 4

	
	
	172-214
	Strobe Mode 5

	
	
	215-255
	Strobe Mode 6

	4
	Plate Red
	0-255
	Plate Red Dimmer

	5
	Plate Green
	0-255
	Plate Green Dimmer

	6
	Plate Blue
	0-255
	Plate Blue Dimmer

	7
	Plate Strobe
	0-9
	No Strobe

	
	
	10-255
	Strobe from slow to fast


14 Channel mode

	Channel
	Name
	DMX Value
	Description

	1
	Tilt
	0-255
	Tilt Movement

	2
	Tilt Fine
	0-255
	Tilt Fine Movement 

	3
	Beam Dimmer
	0-255
	Beam Intensity

	4
	Beam Strobe Mode
	0-5
	No Strobe

	
	
	6-42
	Strobe Mode 1

	
	
	43-85
	Strobe Mode 2

	
	
	86-128
	Strobe Mode 3

	
	
	129-171
	Strobe Mode 4

	
	
	172-214
	Strobe Mode 5

	
	
	215-255
	Strobe Mode 6

	5
	Reserved
	
	Reserved Channel

	6
	Beam Macro
	0-15
	Beam Off

	
	
	16-57
	Beam Macro 1

	
	
	58-99
	Beam Macro 2

	
	
	100-141
	Beam Macro 3

	
	
	142-183
	Beam Macro 4

	
	
	184-225
	Beam Macro 5

	
	
	226-255
	Beam Macro 6

	7
	Plate Red
	0-255
	Plate Red Dimmer

	8
	Plate Green
	0-255
	Plate Green Dimmer

	9
	Plate Blue
	0-255
	Plate Blue Dimmer

	10
	Plate Strobe
	0-9
	No Strobe

	
	
	10-255
	Strobe from slow to fast

	11
	Plate Macro
	0-4
	Plate Macro Off

	
	
	5-9
	Plate Macro 1

	
	
	10-14
	Plate Macro 2

	
	
	15-19
	Plate Macro 3

	
	
	…
	Plate Macro …

	
	
	250-254
	Plate Macro 50

	
	
	255
	Plate Macro 51

	12
	Plate Macro Color
	0-255
	Plate Macro Color

	13
	Plate Macro Speed
	0-255
	Speed From Slow To Fast

	14
	Plate Total Dimmer
	0
	Close

	
	
	1-255
	Dimmer from dark to bright


16 Channel mode

	Channel
	Name
	DMX Value
	Description

	1
	Tilt
	0-255
	Tilt Movement

	2
	Tilt Fine
	0-255
	Tilt Fine Movement 

	3
	Beam Dimmer
	0-255
	Beam Intensity

	4
	Beam Strobe Mode
	0-5
	No Strobe

	
	
	6-42
	Strobe Mode 1

	
	
	43-85
	Strobe Mode 2

	
	
	86-128
	Strobe Mode 3

	
	
	129-171
	Strobe Mode 4

	
	
	172-214
	Strobe Mode 5

	
	
	215-255
	Strobe Mode 6

	5
	Reserved
	
	Reserved Channel

	6
	Beam Macro
	0-15
	Beam Off

	
	
	16-57
	Beam Macro 1

	
	
	58-99
	Beam Macro 2

	
	
	100-141
	Beam Macro 3

	
	
	142-183
	Beam Macro 4

	
	
	184-225
	Beam Macro 5

	
	
	226-255
	Beam Macro 6

	7
	Plate Red
	0-255
	Plate Red Dimmer

	8
	Plate Green
	0-255
	Plate Green Dimmer

	9
	Plate Blue
	0-255
	Plate Blue Dimmer

	10
	Plate Strobe
	0-9
	No Strobe

	
	
	10-255
	Strobe from slow to fast

	11
	Plate Macro
	0-4
	Plate Macro Off

	
	
	5-9
	Plate Macro 1

	
	
	10-14
	Plate Macro 2

	
	
	15-19
	Plate Macro 3

	
	
	…
	Plate Macro …

	
	
	250-254
	Plate Macro 50

	
	
	255
	Plate Macro 51

	12
	Plate Macro Color
	0-255
	Plate Macro Color

	13
	Plate Macro Speed
	0-255
	Speed From Slow To Fast

	14
	Plate Total Dimmer
	0
	Close

	
	
	1-255
	Dimmer from dark to bright

	15
	Tilt Speed
	0-255
	Tilt Speed From Fast To Slow

	16
	Dimmer Speed 
	0-255
	Dimmer Speed From Fast To Slow


42 Channel mode
	Channel
	Name
	DMX Value
	Description

	1
	Tilt
	0-255
	Tilt Movement

	2
	Tilt Fine
	0-255
	Tilt Fine Movement 

	3
	Beam Dimmer
	0-255
	Beam Intensity

	4
	Beam Strobe Mode
	0-5
	No Strobe

	
	
	6-42
	Strobe Mode 1

	
	
	43-85
	Strobe Mode 2

	
	
	86-128
	Strobe Mode 3

	
	
	129-171
	Strobe Mode 4

	
	
	172-214
	Strobe Mode 5

	
	
	215-255
	Strobe Mode 6

	5
	Reserved
	0-255
	Reserved Channel

	6
	Beam Macro
	0-15
	Beam Off

	
	
	16-57
	Beam Macro 1

	
	
	58-99
	Beam Macro 2

	
	
	100-141
	Beam Macro 3

	
	
	142-183
	Beam Macro 4

	
	
	184-225
	Beam Macro 5

	
	
	226-255
	Beam Macro 6

	7
	Plate Red
	0-255
	Plate Red Dimmer

	8
	Plate Green
	0-255
	Plate Green Dimmer

	9
	Plate Blue
	0-255
	Plate Blue Dimmer

	10
	Plate Strobe
	0-255
	Plate Strobe

	11
	Plate Macro
	0-4
	Plate Macro Off

	
	
	5-9
	Plate Macro 1

	
	
	10-14
	Plate Macro 2

	
	
	15-19
	Plate Macro 3

	
	
	…
	Plate Macro …

	
	
	250-254
	Plate Macro 50

	
	
	255
	Plate Macro 51

	12
	Plate Macro Color
	0-255
	Plate Macro Color

	13
	Plate Macro Speed
	0-255
	Speed From Slow To Fast

	14
	Plate Total Dimmer
	0
	Close

	
	
	1-255
	Dimmer from dark to bright

	15
	Beam Pixel 1
	0-255
	Tube Pixel 1

	16
	Beam Pixel 2
	0-255
	Tube Pixel 2

	17
	Beam Pixel 3
	0-255
	Tube Pixel 3

	18
	Beam Pixel 4
	0-255
	Tube Pixel 4

	19
	Plate Pixel 1 Red
	0-255
	Plate Pixel 1 Red Dimmer

	20
	Plate Pixel 1 Green
	0-255
	Plate Pixel 1 Green Dimmer

	21
	Plate Pixel 1 Blue
	0-255
	Plate Pixel 1 Blue Dimmer

	…
	…
	…
	…

	40
	Plate Pixel 8 Red
	0-255
	Plate Pixel 8 Red Dimmer

	41
	Plate Pixel 8 Green
	0-255
	Plate Pixel 8 Green Dimmer

	42
	Plate Pixel 8 Blue
	0-255
	Plate Pixel 8 Blue Dimmer


44 Channel mode
	Channel
	Name
	DMX Value
	Description

	1
	Tilt
	0-255
	Tilt Movement

	2
	Tilt Fine
	0-255
	Tilt Fine Movement 

	3
	Beam Dimmer
	0-255
	Beam Intensity

	4
	Beam Strobe Mode
	0-5
	No Strobe

	
	
	6-42
	Strobe Mode 1

	
	
	43-85
	Strobe Mode 2

	
	
	86-128
	Strobe Mode 3

	
	
	129-171
	Strobe Mode 4

	
	
	172-214
	Strobe Mode 5

	
	
	215-255
	Strobe Mode 6

	5
	Reserved
	0-255
	Reserved Channel

	6
	Beam Macro
	0-15
	Beam Off

	
	
	16-57
	Beam Macro 1

	
	
	58-99
	Beam Macro 2

	
	
	100-141
	Beam Macro 3

	
	
	142-183
	Beam Macro 4

	
	
	184-225
	Beam Macro 5

	
	
	226-255
	Beam Macro 6

	7
	Plate Red
	0-255
	Plate Red Dimmer

	8
	Plate Green
	0-255
	Plate Green Dimmer

	9
	Plate Blue
	0-255
	Plate Blue Dimmer

	10
	Plate Strobe
	0-255
	Plate Strobe

	11
	Plate Macro
	0-4
	Plate Macro Off

	
	
	5-9
	Plate Macro 1

	
	
	10-14
	Plate Macro 2

	
	
	15-19
	Plate Macro 3

	
	
	…
	Plate Macro …

	
	
	250-254
	Plate Macro 50

	
	
	255
	Plate Macro 51

	12
	Plate Macro Color
	0-255
	Plate Macro Color

	13
	Plate Macro Speed
	0-255
	Speed From Slow To Fast

	14
	Plate Total Dimmer
	0
	Close

	
	
	1-255
	Dimmer from dark to bright

	15
	Beam Pixel 1
	0-255
	Tube Pixel 1

	16
	Beam Pixel 2
	0-255
	Tube Pixel 2

	17
	Beam Pixel 3
	0-255
	Tube Pixel 3

	18
	Beam Pixel 4
	0-255
	Tube Pixel 4

	19
	Plate Pixel 1 Red
	0-255
	Plate Pixel 1 Red Dimmer

	20
	Plate Pixel 1 Green
	0-255
	Plate Pixel 1 Green Dimmer

	21
	Plate Pixel 1 Blue
	0-255
	Plate Pixel 1 Blue Dimmer

	…
	…
	…
	…

	40
	Plate Pixel 8 Red
	0-255
	Plate Pixel 8 Red Dimmer

	41
	Plate Pixel 8 Green
	0-255
	Plate Pixel 8 Green Dimmer

	42
	Plate Pixel 8 Blue
	0-255
	Plate Pixel 8 Blue Dimmer

	43
	Tilt Speed
	0-255
	Tilt Speed From Fast To Slow

	44
	Dimmer Speed
	0-255
	Dimmer Speed From Fast To Slow


11. Control menu 
[image: image7.jpg]A
8.
c
0.
3

MENU
w

DowN

CONFRM

DIGITAL DISPLAY WINDOW




Display:
MENU
To select the programming functions (press to unlock screen)
DOWN
To go backward in the selected functions

UP
To go forward in the selected functions

ENTER
To confirm the selected functions

Set DMX Address:

Press "MENU" to unlock screen, then select the “DMX Address” and press "ENTER".

Showing "Set DMX Address 001", Press the "UP or DOWN" key to increase or decrease the DMX address value.

Press "ENTER" to save and Exit, Press "Cancel" does not save and Exit.
	Level 1
	Level 2
	Description

	DMX Address

Address
	001-512
	Set DMX address

	DMX

Channel

Mode
	DMX_CH7
	7 channels DMX mode

	
	DMX_CH14
	14 channels DMX mode

	
	DMX_CH42
	42 channels DMX mode

	
	DMX_CH16
	16 channels DMX mode

	
	DMX_CH44
	44 channels DMX mode

	Dimmer

Mode
	DIM1
	Dimmer mode 1

	
	DIM2
	Dimmer mode 2

	
	DIM3
	Dimmer mode 3

	
	DIM4
	Dimmer mode 4

	
	DIM5
	Dimmer mode 5

	Mode

Selection
	DMX512
	DMX mode

	
	Auto1
	Auto run mode 1

	
	Auto2
	Auto run mode 2

	
	Auto3
	Auto run mode 3

	
	Y motor
	Tilt movement

	
	White
	Beam dimmer

	
	W stroboscopic
	Beam strobe

	
	Red
	Back light red dimmer

	
	Green
	Back light green dimmer

	
	Blue
	Back light blue dimmer

	
	RGB stroboscopic
	Back light strobe

	System

Setting
	Language
	语言/English

	
	Bk_Light
	OFF/ON

	
	Dmx512
	Clear/Keep

	
	W-DMX
	Link/Unlink ( W-DMX version only )

	System

Info
	RDM UID
	RDM UID

	
	Version
	Software Version Number

	
	DMX Channel
	Currently used mode


12. Specification 
Strobe Panel LEDs

LED Type: 5050 0.5W RGB 3in1 LEDs

LED Count: 480

LED Colors: RGB

LED Segments: 8 (2 x 4)

Strobe Tube LEDs

LED Type: 3535 5W 6500K LEDs

LED Count: 144

LED Colors: Cool-White

LED Segments: 4

Movement

Resolution: 8-16 Bit

Tilt (Degrees): 185°

Control

Control Modes: 7CH / 14CH / 42CH / 16CH / 44CH

Display: Illuminated graphic LCD

Protocol: USITT DMX-512, RDM

RDM: Bidirectional communication

Wireless DMX: 2.4 GHz W-DMX™ (optional) 

Cooling: Temperature controlled, overheating protection

Effects

Dimmer: 0-100% electronic

Shutter: electronic, max. 20 Hz

Internal Effects: LED Macro Effects

Connectors

Signal connection: Seetronic IP65 XLR 5-Pin or 3-Pin In/Out

Power Input: Seetronic PowerCON TRUE1 In/Out

Operating Conditions

Mains voltage: 100-240V AC / 50-60Hz

Power: 1000W

Maximum ambient temperature: -30°C / 86°F, 50°C / 122°F

Operating Position: any

Mounting Options

Hanging: Omega-Bracket

Safety wire attachment: foldout eyelets

Shipping

Single fixture: cardboard (inner and outer cartons)

Tourpack: 4-way Flight Case

Housing Colors

Standard colors: black

Dimensions
Length: 482 mm / 18.9 in

Width: 178 mm / 9.0 in

Height (head horizontal): 243 mm / 9.5 in

Weight

N.W: 10 kg

G.W: 12.5 kg
LED Strobe Wash Outdoor Moving Light





This product manual contains important information about the safe installation and use of this projector. Please read and follow these instructions carefully and keep this manual in a safe place for future reference.








User manual


Please read the instructions carefully before use








TABLE OF CONTENTS








WARNING! Read the safety precautions in this section before unpacking, installing, powering or operating this product.





WARNING! Risk of electric shock.





WARNING! Take measures to prevent burns and fire.





WARNING! Take measure to prevent personal injury.








12
2

